## Slide 1
Optimizing Blood Pressure Estimation using
Multiple Features Extracted from PPG Signals
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
Final Project Presentation
Students name: Geonwoo Ji and Denis Bernard
Soonchunhyang University

## Slide 2: Contents
Introduction
  Blood pressure and its measurement methods
Problem definition and motivation
Objectives of the project
Proposed methodology
Experiment and Results
Conclusion
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals

## Slide 3: Introduction
Blood pressure (BP)
  The force exerted by blood as it circulates in the arteries
  BP can be described in terms of
    Systolic blood pressure (SBP, when the heart beats and BP is at its highest)
    Diastolic blood pressure (DBP, when the heart beats and BP is at its lowest)
BP measurement methods
  Both invasive and noninvasive methods of BP monitoring
  are presently in use
    For continuous high accuracy BP measurement,
    an invasive arterial line is a clinical standard
    However, this approach has negative consequences
    as an intrusive measurement, such as a risk of infection
    In contrast, for noninvasive BP monitoring,
    PPG is a promising method
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
DBP and SBP
ABP and PPG
https://coredifferences.com/difference between-systolic-and diastolic-blood-pressures/
https://www.mdpi.com/2077-0383/7/10/316

## Slide 4: Introduction
PPG provide an optically obtained signal
  that can be used to detect changes in the volume of blood in the microvascular tissue bed
In a clinical setting,
  this signal is often obtained by a pulse oximeter while patients are ambulatory
Due to its simplicity and low-cost,
  PPG has a wide potential for clinical applications, such as the estimation of BP and heart rate
Working principle of PPG sensor
https://www.rfwireless-world.com/Terminology/Advantages-and-Disadvantages-of-PPG-Sensor.html

## Slide 5: Problem definition and Motivation
Problem statement
  Several current state-of-the-art methods extract only a limited number of features from the PPG signal, either in the time or frequency domain, which may be inadequate for effectively training models and achieving optimal results.
Motivation
  Our goal is to illustrate the efficacy of utilizing a wide range of PPG features, including statistical, time-domain, frequency-domain, amplitude-based, gradient-based, and morphological features, in machine learning and deep learning models for the purpose of estimating blood pressure.
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals

## Slide 6: Objectives of the project
The main objective of performing a regression task, such as blood pressure estimation are
  To develop a predictive model that can help individuals to get valuable information about their health status.
  To develop a predictive model that can help clinicians to identify patients who are at risk for hypertension, hypotension and other cardiovascular diseases, and to better understand the factors that contribute to these conditions.
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals

## Slide 7: Proposed methodology
The proposed method for estimating BP using the PPG signal have the following steps as shown in the block diagram below.
Where the abbreviation in the block diagram have the following meaning
  MIMIC II - Multiparameter Intelligent Monitoring in Intensive Care II
  ABP - Arterial Blood Pressure
  PPG - Photoplethysmography
  SBP - Systolic Blood Pressure
  DBP - Diastolic Blood Pressure
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
MIMI II Database
ABP & PPG Acquisition
Machine Learning or Deep Learning
Feature Extraction
Preprocessing
Segmentation
DBP
SBP
Estimate

## Slide 8: MIMIC II Dataset
MIMIC II (Multiparameter Intelligent Monitoring in Intensive Care II)
  From University of California Irvine (UCI) Machine Learning Repository
  Widely used for a comparative analysis with other related work
  The dataset contained
    Electrocardiogram (ECG) signals
    Photoplethysmography (PPG) signals
    and arterial blood pressure (ABP) signals from 12,000 patients
  These parameters were simultaneously measured at a sampling rate of 125 Hz
  PPG and ABP signals were collected through fingertip and invasive measurements respectively
  ABP signals can indicate considerable information regarding cardiovascular functions
    therefore, in this study, SBP and DBP were calculated based on ABP signals
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
https://archive.ics.uci.edu/ml/datasets/Cuff-Less+Blood+Pressure+Estimation

## Slide 9: Preprocessing and segmentation of PPG signal
Preprocessing of ABP signal
  Criteria to obtain the DBP and SBP values
    60 ≤ DBP ≤ 130 (exclude DBP values less than 60 and DBP values greater than 130)
    80 ≤ SBP ≤ 180 (exclude SBP values less than 80 and SBP values greater than 180)
Segmentation of PPG signal
  We used sliding window to extract 8 second overlapped window (with 2 second stride)
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
8 second window of inappropriate PPG signal that were applied in this work
8 second window of inappropriate PPG signal because of drug influence, sensor
movement, and other circumstances

## Slide 10: Feature extraction
Feature extraction from PPG signal
Target values extraction from ABP signal
From the ABP signal, SBP and DBP values will be extracted
SBP
DBP
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
Feature Extraction
  Extracting SBP and DBP values from each ABP signal
Feature Extraction
  From the PPG signal 82 features were extracted such as:-
    Statistical features,
    Time-domain features,
    Frequency domain features,
    Amplitude-based features,
    Gradient-based features, and
    Morphological features
PPG signal and expected features to be extracted

## Slide 11: List of 82 features extracted from PPG signal
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals

## Slide 12: Experiment and Results
Experiment setting
  Programming language : Python
  Python libraries : TensorFlow and Keras
  Device: Nvidia Jetson AGX Xavier
  We performed 10-fold cross validation for each experiment
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
GPU: 512-core Volta GPU with tensor cores
CPU: 8-core ARM v8.2 64-bit CPU, 8MB L2 + 4MB L3
Memory: 32GB 256-Bit LPDDR4x or 137GB/s
Storage of 32GB eMMC 5.1

## Slide 13: Machine Learning and CNN variant Results
Machine Learning results
CNN variant results
Extra Tree | 3.83 ± 5.70 | 5.73 | 8.81 ± 12.73 | 12.74
LightGBM | 3.84 ± 5.72 | 5.71 | 8.98 ± 12.75 | 12.76
Lasso | 6.82 ± 8.66 | 6.26 | 8.72 ± 12.72 | 12.85
Ridge | 6.48 ± 8.36 | 8.40 | 16.00 ± 19.49 | 19.53
MAE ± STD | RMSE | MAE ± STD | RMSE
DBP (mmHg) | SBP (mmHg)
ML Models
AlexNet | 2.62 ± 11.89 | 11.90 | 4.84 ± 24.94 | 25.00
LVGG16 | 4.28 ± 6.21 | 6.26 | 8.72 ± 12.72 | 12.85
GoogLeNet | 3.09 ± 4.61 | 4.63 | 4.72 ± 7.52 | 7.54
MAE ± STD | RMSE | MAE ± STD | RMSE
DBP (mmHg) | SBP (mmHg)
CNN Variants

## Slide 14: Design of the proposed ResNet-50 Model
The model consists of 5 stages each with a convolution and Identity block. Each convolution block has 3 convolution layers and each identity block also has 3 convolution layers
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
Zero padding
Conv
Batch Norm
ReLU
Max Pool
Conv Block
ID Block
Conv Block
ID Block
Conv Block
ID Block
Conv Block
ID Block
Avg Pool
Flattening
FC
SBP
DBP
Stage 1
Stage 2
Stage 3
Stage 4
Stage 5
Input
Output

## Slide 15: ResNet-50 Model Training
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
Training the ResNet-50 model
Learning curve After training the ResNet-50 model

## Slide 16: BP Estimation with ResNet-50 Model Results
Results of our proposed ResNet-50 model
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
Objective functions
ResNet-50 | 2.03 ± 3.12 | 3.15 | 3.61 ± 5.66 | 5.70
Proposed Model
MAE ± STD | RMSE | MAE ± STD | RMSE
DBP (mmHg) | SBP (mmHg)

## Slide 17: BP Estimation with ResNet-50 Model Results
Performance comparison with previous work
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
MAE ± STD | MAE ± STD
3.36 ± 4.48 | 5.59 ± 7.25
3.15 ± 2.47 | 4.95 ± 4.15
2.27 ± 1.82 | 4.02 ± 2.79
2.30 ± 0.19 | 3.97 ± 0.06
4.17 ± 4.22 | 8.22 ± 10.38
2.03 ± 3.12 | 3.15 ± 5.66
DBP (mmHg) | SBP (mmHg)
Authors | Model
Rong et al. [8] | MTFF-ANN (2CNN+1 LSTM
Wang et al. [9] | LASSO-LSTM
Wang et al. [12] | ANN
Panwar et al. [16] | LRCN
Hasanzadeh et al. [23] | AdaBoost
This work | ResNet-50

## Slide 18: Comparison with British Hypertension Society (BHS)
The British Hypertension Society (BHS) standard
  The BHS grades BP measurement devices based on their cumulative percentage of error under their different thresholds, which are 5, 10, and 15 mmHg
  This standard includes grades A, B and C
  Our model conforms to the BHS international standards
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
Grade A | 60% | 85% | 95%
Grade B | 50% | 75% | 90%
Grade C | 40% | 65% | 85%
DBP | 85.5% | 90.5% | 92.8%
SBP | 82.4% | 89.3% | 91.6%
≤ 5 mmHg | ≤ 10 mmHg | ≤ 15 mmHg
Cumulative Percentage Error
BHS [33]
Our Results

## Slide 19: Comparison with Advancement of Medical Instrumentation (AAMI)
The Association for the Advancement of Medical Instrumentation (AAMI)
  AAMI recommends that the mean error (ME) of blood pressure measurement from both methods should not exceed 5 mmHg, and the standard deviation should not be greater than 8 mmHg
  Our model conforms to the AAMI international standards
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals
 | ME (mmHg) | STD (mmHg) | Subjects
DBP & SBP | ≤ 5 | ≤ 8 | ≥ 85
DBP | 0.91 | 1.68 | 912
SBP | 1.15 | 2.43 | 912
Our Results
AAMI [32]

## Slide 20: Conclusion
We propose a ResNet-50 architecture consisting of 5 stages each with a convolution and Identity block. Each convolution block has 3 convolution layers and each identity block also has 3 convolution layers which operate directly on the PPG features to reduce information loss and effectively model the PPG-BP relationship.
The goal of this work is to demonstrate how to use PPG signals to make continuous blood pressure monitoring easier for older or fragile individuals. To be more specific, we concentrate at feature extraction strategies in order to improve the accuracy of blood pressure estimation.
We investigate the performance of machine learning algorithms, including traditional machine learning (Lasso, Ridge, ExtratreeRegressor, LGBM), and deep learning (i.e., VGG16, GoogleNet, AlexNet and ResNet-50)
Optimizing Blood Pressure Estimation using Multiple Features Extracted from PPG Signals

## Slide 21: References
J. Allen, “Photoplethysmography and its application in clinical physiological measurement,” Physiological measurement, vol. 28, no. 3, p. R1, 2007.
S. Maqsood, S. Xu, M. Springer, and R. Mohawesh “A Benchmark Study of Machine Learning for Analysis of Signal Feature Extraction Techniques for Blood Pressure Estimation Using Photoplethysmography (PPG),” IEEE Access, vol. 9, pp. 138817-138833, 2021.
M. Rong and K. Li, “A multi-type features fusion neural network for blood pressure prediction based on photoplethysmography,” Biomedical Signal Processing and Control, vol. 68, pp. 102772, 2021.
D. Wang, X. Yang, X. Liu, L. Ma, L. Li, and W. Wang, “Photoplethysmography-based blood pressure estimation combining filter-wrapper collaborated feature selection with lasso-lstm model,” IEEE Transactions on Instrumentation and Measurement, vol. 70, pp. 1-14, 2021.
S. G. Khalid, H. Liu, T. Zia, J. Zhang, F. Chen, and D. Zheng, “Cuffless blood pressure estimation using single channel photoplethysmography: a two-step method,” EEE Access, vol. 8, pp. 58146-58154, 2020.

## Slide 22: Q&A
Thank you
Questions?
Contact: